**Core M2 training checklist**

Facility:

Participant name:

Signature:

Date:

Trainer name:

Signature:

Date:

|  |  |  |
| --- | --- | --- |
| **System setup** | **Needs work** | **Proficient** |
|  | Power on system |  |  |
|  | Go to settings |  |  |
|  | Demonstrate how to enter patient data (when?) |  |  |
|  | Connect peripheral IVUS catheter to PIM |  |  |
|  | Demonstrate how to begin a procedure |  |  |
|  | Demonstrate how to retrieve a procedure |  |  |
| **Live case operations** |
|  | Discuss Ringdown (when and where?) |  |  |
|  | Demonstrate how to change gain (Adjust Image) |  |  |
|  | Demonstrate how to rotate image (Adjust Image) |  |  |
|  | Demonstrate how to increase/decrease the field of view (Adjust Image) |  |  |
|  | Demonstrate how to capture a frame |  |  |
|  | Start and Stop a Video loop recording |  |  |
|  | Utilize Bookmark during recording |  |  |
|  | Access bookmark |  |  |
|  | Access a section within the recording |  |  |
|  | Demonstrate Bookmarking/navigation through Bookmarks |  |  |
|  | Demonstrate how to measure using Area |  |  |
|  | Demonstrate how to edit measurements |  |  |
|  | Demonstrate how to measure using Diameter |  |  |
|  | Demonstrate how to use dots function |  |  |
|  | Demonstrate how to rotate the ILD |  |  |
|  | Demonstrate how to name the video loop |  |  |
|  | Change/Delete measurements |  |  |
|  | Compare measurements |  |  |
|  | Demonstrate the difference between plaque burden and lumen stenosis measurements |  |  |
|  | Demonstrate how to Save Frame |  |  |
|  | Name a Video Loop and/or Saved Frame |  |  |
|  | Annotate on an image manually and using pre- populated labels |  |  |
|  | Activate ChromaFlo (when?) |  |  |
| **Post case** |
|  | Demonstrate how to End Case |  |  |
|  | Demonstrate how to Archive and Retrieve a case |  |  |
|  | Demonstrate how to delete a case |  |  |
|  | Demonstrate how to burn a case onto a DVD-R |  |  |
|  | Demonstrate how to shut down |  |  |